## Slide 1: Solar Power Plant CEO Comprehensive Performance Report
Executive Presentation

## Slide 2: 1. Executive Summary
The 100 MWp solar power plant demonstrated stable operational performance during July 2026, maintaining strong availability and safety performance. However, the plant experienced a generation shortfall of 800 MWh (5%) compared with the planned target due to inverter failures, grid interruptions, and module soiling losses.
  The plant achieved:
  Actual Generation: 15.2 GWh
  Target Generation: 16.0 GWh
  Generation Achievement: 95%
  Performance Ratio (PR): 81.7%
  Plant Availability: 99.3%
  Inverter Availability: 98.9%
  Revenue Generated: ₹7.65 Crore
  Operating Expenses: ₹48 Lakh

## Slide 3: 2. CEO KPI Dashboard

## Slide 4: 3. Monthly Performance Analysis Report
Performance Comparison

## Slide 5: 4. Energy Generation Target Achievement Report
Generation Deviation Analysis
  Root Cause Analysis
  Major Issue 1: Inverter Failure
  Equipment:
  INV-03
  INV-05
  Cause:
  IGBT module failure
  Cooling fan malfunction
  Impact:

## Slide 6: 5. Performance Ratio (PR) Improvement Report
PR Trend
  PR Reduction Factors
  Recommended PR Improvement Actions
  Expected Future PR: 82.5%–83%

## Slide 7: 6. Revenue Impact Analysis Report
Financial Impact
  Revenue Loss Contributors

## Slide 8: 7. OPEX Optimization Report
Monthly Cost Analysis
  Observation
  Corrective maintenance cost is higher than preventive maintenance.
  Recommendation:
  Increase preventive maintenance activities to reduce emergency repair costs.

## Slide 9: 8. ROI Performance Report
Investment Analysis
  ROI Gap Analysis
  ROI Improvement Plan
  Increase generation by reducing downtime.
  Improve PR by 1–2%.
  Reduce corrective maintenance expenses.

## Slide 10: 9. Operational Risk Assessment Report

## Slide 11: 10. Energy Loss Root Cause Report
Loss Waterfall
  Priority Improvement Area
  No.1 Priority: Reduce inverter downtime.
  Expected recovery:
  +110 MWh generation
  +₹5.6 Lakh monthly revenue

## Slide 12: 11. Safety & Compliance Report
Safety Score
  98/100 – Excellent

## Slide 13: 12. Quarterly Improvement Strategy Report
Three-Month Action Plan

## Slide 14: 13. CEO Decision Required

## Slide 15: Final CEO Assessment
Overall Plant Status: 🟢 STABLE WITH IMPROVEMENT OPPORTUNITIES
  Key Achievements
  ✅ 99.3% plant availability achieved ✅ Zero safety incidents ✅ OPEX maintained within budget ✅ Strong operational reliability
  Key Concerns
  ⚠ Generation below target by 5% ⚠ Inverter-related losses are highest contributor ⚠ Corrective maintenance cost increasing
  Expected Next Quarter Improvement
  Management Priority: Focus on inverter reliability, predictive maintenance, and loss reduction to improve generation performance and maximize ROI.